{"text_format":"3","workbook":"xlsx","n_sheets":1,"sheets":["附件一 2021年度电工电子类教学耗材需求明细表"],"read":"whole","date_system":"1900"}

{"sheet":"附件一 2021年度电工电子类教学耗材需求明细表","index":0,"n_rows":99,"n_cols":8,"rows_kept":99,"merged":[[0,0,0,7]]}
["附件一　　2025 先进制造学院下半年 电工电子类教学耗材需求明细表"]
["编号","货物名称","规格型号","单位","数量","单价（元）","小计（元）","备注"]
[1,"两极自动开关带漏电","西门子2p带漏电","个",2,null,null,"需到实验室现场更换或安装，并与实验室设备配套"]
[2,"单极自动开关","西门子1P","个",5,null,null,"需到实验室现场更换或安装，并与实验室设备配套"]
[3,"日光管支座","20w","条",5,null,null,"需到实验室现场更换或安装，并与实验室设备配套"]
[4,"日光管","20w","条",5]
[5,"灯座","中兴86型螺口","个",10]
[6,"一位开关面板","中兴86型  一开双掷","个",20]
[7,"插座","中兴86型       五孔","个",10]
[8,"两位开关面板","中兴86型","个",20]
[9,"信号线","进口低频、高频\n\n信号发生器信号线","条",20,null,null,"与实验室设备配套，有提供样品"]
[10,"示波器探头","进口Cs-4125A专用","条",6,null,null,"与实验室设备配套，有提供样品"]
[11,"电气绝缘胶布","阻燃   10米","粒",20]
[12,"万用表","上海星牌 368型  配电池","个",3]
[13,"外热式电烙铁","30W尖头   长寿牌","个",3]
[14,"螺丝批","合资 平头及十字头  6.5*150mm","套",3]
[15,"吸锡器","电吸锡器   长寿牌","支\n\n",1]
[16,"吸锡器","902手动","支\n\n",3]
[17,"表笔","指针 万用表专用","付 ",10]
[18,"U型双头插线","双头4厘    50cm  多种颜色","袋 ",1,null,null,"每袋50条 与实验室设备配套，有提供样品"]
[19,"铜螺丝、铜螺母、铜介只","Ф4mm，长度20mm.30mm.40mm","套",100]
[20,"信号发生器配件","教学实验散件\n（包含  万能电路板及元器件）","套",2,null,null,"须与教材配套，有提供图纸"]
[21,"镀锡连接裸线","Φ0.6  (8kg 粒装)","粒",1]
[22,"焊锡丝","φ0.8mm  进口阿华(蓝标)\n\n1kg 粒装","粒",24]
[23,"自动化实验套件（核心板）","成品套件\n实验套件能够完成各种基础资源的实验，能够完成外接温度传感器、、温湿度传感器、蓝牙实验、wifi实验，流水灯、数码管、lora通信实验，RS485通信、24c02存储器芯片读取，ds1302、红外等实验。","套",2,null,null,"与教材配套，有提供图纸"]
[24,"实验板连接、杜邦线",null,"套",2]
[25,"自动化外围套件","  教学实验散件                  蜂鸣器模块、超声波模块、光敏模块等","套",2,null,null,"须与教材配套，有提供图纸"]
[26,"四位秒表实验套件","教学实验散件\n\n（包含 印制电路板及元器件，能够完成四位秒点、 电源、 起振、 计散 、泽码实验内容)","套",260,null,null,"须与教材配套，有提供图纸"]
[27,"电池","9伏","粒",40]
[28,"电池","7号  1.5伏   铁壳","粒",20]
[29,"电池","1号  1.5伏   铁壳","粒",60]
[30,"电池","5号  1.5伏   铁壳","个",40]
[31,"万能电路板","7cm*9cm     2.54mm","块",1200,null,null,"绿板"]
[32,"万能电路板","9cm*15cm    2.54mm","块",100,null,null,"绿板"]
[33,"集成运放配件","教学实验散件\n\n（包含  万能电路板及元器件）","套",2,null,null,"须与教材配套，有提供图纸"]
[34,"交流接触器","CJX2-2510/380V","只",20,null,null,"需到实验室现场更换或安装，并与实验室设备配套"]
[35,"时间继电器","电子js14p  AC380V","个",2,null,null,"需到实验室现场更换或安装，并与实验室设备配套"]
[36,"继电器底座","PF083A","个",10,null,null,"需到实验室现场更换或安装，并与实验室设备配套"]
[37,"小型通用 继电器","JTX-2C’AC36V","个",10]
[38,"四极插头","16A  三相","个",10]
[39,"辅助触头","F4-22正泰或环宇电器","个",20,null,null,"需到实验室现场更换或安装，并与实验室设备配套"]
[40,"单管放大电路套件","教学实验散件\n\n（包含  印制电路板及元器件）","套",2,null,null,"① 须与教材配套，有提供图纸\n②,印刷电路板材料为玻纤板、尺寸是12cm×9cm\n③包含wH148电位器、MTs102钮子开关2粒、电源线等元器件"]
[41,"稳压电源实验套件","教学实验散件\n\n（包含  印制电路板及元器件）","套",2,null,null,"① 须与教材配套，有提供图纸\n②,印刷电路板材料为玻纤板、尺寸是12cm×9cm\n③包含电源线2条"]
[42,"大胶条",null,"根",20]
[43,"小胶条",null,"根",20]
[44,"五位电排",null,"条",2]
[45,"扎带",null,"包",2]
[46,"清洗剂","万能润滑防锈剂 ","瓶",2]
[47,"标签纸",null,"袋",2]
[48,"抺布","30*70","条",5]
[49,"塑料椅子",null,"只",30]
[50,"实验箱 插线","双头灯笼插头(连线约50cm)","袋",2,null,null,"每袋50条 与实验室设备配套，有提供样品"]
[51,"集成芯片","直插 进口正厂 74LS00，74LS02，74LS04，74LS08，74LS10，74LS20，74LS74，74LS86，74LS112，74LS138，74LS151，74LS161，  74LS系列，74HC系列，","条",120,null,null,"各10条"]
[52,"数电芯片塑料盒",null,"个",300]
[53,"电工工具","G-566  (含20样工具,万用表)","套",3]
[54,"摇表笔",null,"条",20]
[55,"抢答器电路套件","电子制作散件、教学实验散件\n\n（包含  万能电路板及元器件）","套",2,null,null,"须与教材配套，有提供图纸"]
[56,"多路控制电路套件","电子制作散件、教学实验散件\n\n（包含  万能电路板及元器件）","套",2,null,null,"须与教材配套，有提供图纸"]
[57,"短接双头线","双头焊锡","斤",2]
[58,"电源配件(音响)","电子制作散件\n\n（包含  印制电路板及元器件）","套",2,null,null,"须与教材配套，有提供图纸"]
[59,"推动级配件(音响)","教学实验散件\n（包含  万能电路板及元器件）","套",2,null,null,"须与教材配套，有提供图纸"]
[60,"音调配件","电子制作散件\n包含  印制电路板及元器件）","套",2,null,null,"须与教材配套，有提供图纸"]
[61,"连接插线(音响)","每套4条","套",2,null,null,"须与教材配套，有提供图纸"]
[62,"热继电器","JR36-20正泰或环宇电器","个",10,null,null,"需到实验室现场更换或安装，并与实验室设备配套"]
[63,"自动空气开关","NM1-63S/3300","个",3,null,null,"需到实验室现场更换或安装，并与实验室设备配套"]
[64,"12目接线端子","TB-2512 铜","支",5,null,null,"需到实验室现场更换或安装，并与实验室设备配套"]
[65,"10目接线端子","TB-2510 铜","支",5,null,null,"需到实验室现场更换或安装，并与实验室设备配套"]
[66,"6目接线端子","TB-2506 铜","支",5,null,null,"需到实验室现场更换或安装，并与实验室设备配套"]
[67,"三位按钮","NP2-E3001 正泰或环宇电器","个",3,null,null,"需到实验室现场更换或安装，并与实验室设备配套"]
[68,"熔断器座","RT28N一32X 3P正泰或环宇电器","个",10,null,null,"需到实验室现场更换或安装，并与实验室设备配套"]
[69,"无线门铃实验套件","教学实验散件                   （包含  印制电路板及元器件）","套",2,null,null,"须与教材配套，有提供图纸"]
[70,"六管调幅收音机套件","分离型","套",2,null,null,"须与教材配套，有提供图纸"]
[71,"收音机配套元件器","陶瓷电容、可变双联、输出变压器、中周变压器、震荡线圈           合共8粒","套",2,null,null,"\n须与教材配套，有提供图纸\n"]
[72,"电容包","包含瓷介，涤纶，CBB,电解电容\n合共10粒","套",820,null,null,"包装成独立封装，每个封装里面包含10种元器件，电压25v至400v"]
[73,"二、三极管包","包含8550、8050、发光二极管、开关二极管、IN4007二极管、5408二极管、稳压二极管，合共7粒","套",400,null,null,"包装成独立封装，每个封装里面包含7种元器件"]
[74,"电阻包 ","包含 ( Ω 、KΩ、MΩ).\n合共10粒","套",820,null,null,"包装成独立封装，每个封装里面包含10种元器件"]
[75,"小平头保险管","0.5a   2a","    盒",2,null,null,"各1盒 "]
[76,"小型断路器","DZ47-60（4p）","个",3,null,null,"需到实验室现场更换或安装，并与实验室设备配套"]
[77,"交流接触器","Cjx2(1810)","个",3,null,null,"需到实验室现场更换或安装，并与实验室设备配套"]
[78,"导轨式电源","FP300D-24MDA FP300D-48MDA","个",4,null,null,"需到实验室现场更换或安装，并与实验室设备配套"]
[79,"PCB接线端子","EC381V-8P,2ESDV-6P,3P"," 套",10,null,null,"需到实验室现场更换或安装，并与实验室设备配"]
[80,"晶体三极管","9013.9015.8050.8550,5551,5401（原庄进口）","袋 ",6,null,null,"各1袋,每一袋的数量200粒"]
[81,"基尔霍夫电流定律套件",null,"套",820,null,null,"①须与教材配套，有提供图纸\n②印刷电路板材料为玻纤板、尺寸是10.3cm×7.8cm\n③包含电源线4条"]
[82,"集成插座","8脚、14脚、16脚、20脚","条",80,null,null,"各20条"]
[83,"单股硬电线","1平方 单股铜芯线  ","卷",3,null,null,"红色 、 黑色、 黄色        各1卷"]
[84,"软电线","0.5㎡ 多股软铜线 ","卷",45,null,null,"红色 、 黑色、 黄色        各15卷"]
[85,"调光灯实验套件\n\n","教学实验散件\n\n（包含 万能电路板及元器件）","套",2,null,null,"须与教材配套，有提供图纸"]
[86,"转向灯实验套件","教学实验散件\n\n（包含 万能电路板及元器件）","套",2,null,null,"须与教材配套，有提供图纸"]
[87,"保险管","R015   2A .3A ","盒\n\n",10,null,null,"各5盒 "]
[88,"水泥电阻 7w","510Ω,1k","袋",2,null,null,"各1袋,每一袋的数量50粒"]
[89,"骆驼汽车电瓶","54565（2S）12V","个",1]
[90,"博士蓄电池","54465  12V ","个",1]
[91,"公牛插座","8位总控3米","个",3]
[92,"空调皮带","JAC","条",1]
[93,"空调压缩机","JAC","个",1]
[94,"环保冷媒","JAC","份",1]
[95,"空调蒸发器芯","JAC","只",1]
[96,"雪种杯","JAC","只",1]
[{"$nulls":5},"合计"]